## P Diagram
Major Function List
| NOISE 1: Piece to Piece |  | NOISE 2: Change Over Time |  | NOISE 3: Customer Usage |  | NOISE 4: External Environment |  | NOISE 5: System Interaction
| Piece to Piece |  | 2.Change Over Time | 3.Customer Usage |  | 4.External Environment |  | 5.System Interaction
Noise Factors | Sensor Location |  | Cleanliness of Case
| Sensor Tolerance |  | Caking of coil
|  |  | Coil oxidation | Improper temp sensor selection |  | Door Opening
Power Fluctuations
| Liquid flow variation |  | Actuator Drift | Improper expansion valve selection
| Actuator tolerance |  | Sensor Drift
Vapour flow variation
Low refrigerant
Inputs
Controller_Output to Stepper Motor |  | Pulse Valve Controller | [5 empty] | Desired Outputs
Total Period | [7 empty] | Ontime
Duty Cycle | [7 empty] | Voltage Output
Min Ontime
Max Ontime
Voltage Output
Suction Temperature
Suction Pressure
Undesired Outputs
Incorrect Ontime
Wrong Voltage
EEV Reduced Refrigerant Delivered
EEV Stuck Close
EEV Stuck Open
EEV Status
Control Factors | Discharge air temp setpoint
Coil outlet temp set point
Coil outlet pressure setpoint
Liquid pressure setpoint
Suction pressure setpoint
Drip time
Superheat setpoint
Pumpdown time

## FMEA
Sensors | Failure Modes | Actuators | Failure Modes
| Value too Low -ve Offset |  | Fail to Open\Stuck Open
| Value too Low -ve gain |  | Partially Open
| Value Stuck |  | Functional Response
| Value too High +ve Offset |  | Partially Closed
| Value too Low +ve gain |  | Failed to close\Stuck Closed
Value Intermittent
Complete Loss of reading
[12 empty] | Responsible Person | Actions Taken | Revised Rankings
Item | Function | Potential Failure Mode | Potential Effect(s) of failure | SEVERITY | Potential Cause(s) of Failure | Occurrence | Current Design Controls(Prevention) | Current Design Controls(Detection) | Detection | RPN | Recommdended Action(s) | Target Completion Date | Effective Completion Date | Severity | Occurrence | Detection | RPN
1 | Open %Value too Low -ve Offset | Too much Refrigirant | Damage Compressor | 10 | Bad Controller Input | 2 | Testing | None | 1 | 1
2 | Open %Value too Low -ve gain | Too Little Refrigirant | Product Loss | 10 | Bad Controller Input | 7
3 | Open %Value Stuck | No Refrigirant | Create a compressor Vaccum | 10 | Bad Controller Input | 7
4 | Open %Value too High +ve Offset | Too much Refrigirant | Damage Compressor | 10 | Bad Controller Input | 2
5 | Open %Value too Low +ve gain | Too Little Refrigirant | Create a compressor Vaccum | 10 | Bad Controller Input | 7
6 | Open %Value Intermittent | Bad Temp & Superheat control | Comp Vaccum + Product Loss | 10 | Bad Controller Input | 7
7 | Open %Complete Loss of reading | No Refrigirant | Create a compressor Vaccum | 10 | Bad Controller Input | 7
8 | VoltageValue too Low -ve Offset | Too much Refrigirant | Damage Compressor | 10 | Bad Controller Input | 2
9 | VoltageValue too Low -ve gain | Too Little Refrigirant | Product Loss | 10 | Bad Controller Input | 7
10 | VoltageValue Stuck | No Refrigirant | Create a compressor Vaccum | 10 | Bad Controller Input | 7
11 | VoltageValue too High +ve Offset | Too much Refrigirant | Damage Compressor | 10 | Bad Controller Input | 2
12 | VoltageValue too Low +ve gain | Too Little Refrigirant | Create a compressor Vaccum | 10 | Bad Controller Input | 7
13 | VoltageValue Intermittent | Bad Temp & Superheat control | Comp Vaccum + Product Loss | 10 | Bad Controller Input | 7
14 | VoltageComplete Loss of reading | No Refrigirant | Create a compressor Vaccum | 10 | Bad Controller Input | 7
15 | PWM Valve Fail to Open\Stuck Open | Too much Refrigirant | Damage Compressor | 10 | Bad Controller Input | 2 | Testing | None | 1
16 | PWM Valve Partially Open | Too Little Refrigirant | Product Loss | 10 | Bad Controller Input | 7
17 | PWM Valve Functional Response | Varied response | Poor System Control | 9 | Bad system response | 5
18 | PWM Valve Partially Closed | No Refrigirant | Create a compressor Vaccum | 10 | Bad Controller Input | 7
19 | PWM Valve Failed to close\Stuck Closed | No Refrigirant | Create a compressor Vaccum | 10 | Bad Controller Input | 7
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212