## Interface Diagram
1. Output Control System(Carel/DFR) Why? Decides who controls the system?
[5 empty] | Temperature Control Manager | Case Temp Management |  | Lights System Manager | Lights System Management
[6 empty] | Case Temp Monitoring |  |  | Lights System Monitoring |  |  | Case System Manager | Overall System Management
[6 empty] | Product Tem Management |  |  | Smart Lights Strategy |  |  |  | Overall System Monitoring
[6 empty] | Product Temp Monitoring |  |  | Case Finder (Alarm) |  |  |  | Fault Categorization | Carel<-->DFR Infrastructure
[6 empty] | Pulse EEV Control | [6 empty] | EOL Test
| Input Manager Carel SW to HPx SW | [11 empty] | Frost Strategy | En_GlobalSwitch_Override | Multiplexer (Carel +HPx Joint infrastructure) |  | Output Manager Hpx SW to HPx SW
Service Logs Capture
AnalogInputs.Fct.AirOff | Analog Inputs | Carel to HPx | Analog Inputs | V_IM_trc_Air_Off | [8 empty] | Freeze Frame |  |  |  | Analog Outputs | HPx to Carel | Physical Analog Outputs | V_OM_pc_Rails
AnalogInputs.Fct.AirOn |  |  |  | V_IM_trc_Air_On | [8 empty] | DFR Alarm Codes | [6 empty] | V_OM_pc_Fans
AnalogInputs.Fct.AmbientH |  |  |  | V_IM_pc_Rh_Ambient | [8 empty] | DFR Smart Case Cleaning |  | En_GenFctModulOverwrite | AnalogOutputs.Fct.GenericModul1 |  |  |  | V_OM_pc_Generic
AnalogInputs.Fct.AmbientT |  |  |  | V_IM_trc_Ambient | [8 empty] | Fail Safe Implementation | [6 empty] | V_OM_pc_Valve
AnalogInputs.Fct.Auxiliary |  |  |  | V_IM_trc_Aux |  | Temp Control Mode P_TCM_TempContMode |  |  | Lights Control Mode P_LSM_LightMode |  |  |  | One Step Programming
AnalogInputs.Fct.Auxiliary2 |  |  |  | V_IM_trc_Aux2 | [5 empty] | Door System Manager | Door System Management |  | Controller Factory Reset
AnalogInputs.Fct.Defrost |  |  |  | V_IM_trc_Defrost | [6 empty] | Door System Monitoring |  | Programming Checksum
AnalogInputs.Fct.Defrost2 |  |  |  | V_IM_trc_Defrost2 | [6 empty] | Door Open too long
AnalogInputs.Fct.DewPoint |  |  |  | V_IM_trc_DewPoint | [6 empty] | Door Shopping analytics
AnalogInputs.Fct.EvapP |  |  |  | V_IM_bar_Evap
AnalogInputs.Fct.GlassT |  |  |  | V_IM_trc_Glass
AnalogInputs.Fct.SuctT |  |  |  | V_IM_trc_Suction
DigitalInputs.Fct.Alarm | Digital Inputs |  | Digital Inputs | V_IM_Alarm_Flag | [10 empty] | En_AlarmOverwrite | DigitalOutputs.Fct.Alarm | Digital Outputs |  | Physical Digital Outputs | V_OM_Alarm_Flag
DigitalInputs.Fct.Auxiliary |  |  |  | V_IM_Auxiliary_Flag | [10 empty] | En_AuxOutputOverwrite | DigitalOutputs.Fct.Auxiliary |  |  |  | V_OM_Auxiliary_Flag
DigitalInputs.Fct.CallDfr |  |  |  | V_IM_CallDfr_Flag | [10 empty] | En_MstAuxOutputOverwrite | DigitalOutputs.Fct.MasterAuxiliary |  |  |  | V_OM_MasterAuxiliary_Flag
DigitalInputs.Fct.Clean |  |  |  | V_IM_Clean_Flag | [10 empty] | En_LightOverwrite | DigitalOutputs.Fct.Light |  |  |  | V_OM_GenericStage1_Flag
DigitalInputs.Fct.Config |  |  |  | V_IM_Config_Flag | [10 empty] | En_FansOverwrite | DigitalOutputs.Fct.Fans |  |  |  | V_OM_Fans_Flag
DigitalInputs.Fct.ContCycle |  |  |  | V_IM_ContCycle_Flag | [10 empty] | En_TimedOutOverwrite | DigitalOutputs.Fct.Timed |  |  |  | V_OM_Timed_Flag
DigitalInputs.Fct.Curtain |  |  |  | V_IM_Curtain_Flag | Heating System Manager | Drain Heating Management |  | Air Flow System Manager | Air Flow Management | [5 empty] | En_DrainHeaterOverwrite | DigitalOutputs.Fct.DrainHeat |  |  |  | V_OM_DrainHeat_Flag
DigitalInputs.Fct.DefrostMirror |  |  |  | V_IM_DefrostMirror_Flag |  | Defrost Management |  |  | Air Flow Monitoring | [5 empty] | En_RailHeaterOverwrite | DigitalOutputs.Fct.RailHeaters |  |  |  | V_OM_RailHeaters_Flag
DigitalInputs.Fct.DelayedAl |  |  |  | V_IM_DelayedAl_Flag |  | Antisweat Heat Management | [8 empty] | En_GenFctStageOverwrite | DigitalOutputs.Fct.GenericStage1 |  |  |  | V_OM_Light_Flag
DigitalInputs.Fct.DoorOff |  |  |  | V_IM_DoorOff_Flag |  | Drain Heating Monitoring | [8 empty] | En_MstLightOverwrite | DigitalOutputs.Fct.MasterLight |  |  |  | V_OM_MasterLight_Flag
DigitalInputs.Fct.DoorOn |  |  |  | V_IM_DoorOn_Flag |  | Defrost Monitoring | [8 empty] | CmdComp | DigitalOutputs.Fct.Solenoid |  |  |  | V_OM_Solenoid_Flag
DigitalInputs.Fct.EnDfr |  |  |  | V_IM_EnDfr_Flag |  | Antisweat Heat Monitoring | [8 empty] | ManDfr | DigitalOutputs.Fct.Defrost |  |  |  | V_OM_Defrost_Flag
DigitalInputs.Fct.GenFctAlrm |  |  |  | V_IM_GenFctAlrm_Flag |  | DFR Defrost Strategy | [9 empty] | DigitalOutputs.Fct.Defrost2 |  |  |  | V_OM_Defrost2_Flag
DigitalInputs.Fct.RemoteOff |  |  |  | V_IM_RemoteOff_Flag
DigitalInputs.Fct.Standby |  |  |  | V_IM_Standby_Flag
DigitalInputs.Fct.Timed |  |  |  | V_IM_Timed_Flag
TempRegStatus | Interface Info |  | Interface Info | Refrigiration Control Active | [12 empty] | Interface Info |  | Interface Info
DfrStatus |  |  |  | Defrost Control Active
Superheat Value |  |  |  | Superheat Value |  | Heating Mode P_HSM_HeatMode |  |  | Air Flow Control Mode P_AFM_ContMode
Startup Complete |  |  |  | Startup Complete
Defrost Schedule |  |  |  | Defrost Schedule
Time |  |  |  | Time
Carel USER CONFIGURATION DATA |  |  |  | Carel USER CONFIGURATION DATA
DFR USER CONFIGURATION DATA |  |  |  | DFR USER CONFIGURATION DATA
DFR Case Control Software Architecture
2. Decides which DFR feature has the highest priority
Defrost Heater
Solenoid Valve
Lights
Drain & Rail Heaters

## Input_Output_Manager
Carel Variable Name | DFR Variable Name | Carel Variable Description | DFR Variable Description | Unit | Carel Default | DFR Default | Data Type | Min | Max | Decimal | Comments
AnalogInputs.Fct.AirOff | V_IM_trc_AirOff |  | Air Off Temperature Value | DegC | NA | NA | Real
| V_IM_trc_AirOff_Status |  | Air Off Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.Defrost | V_IM_trc_Defrost |  | Defrost Temperature Value | DegC | NA | NA | Real
| V_IM_trc_Defrost_Status |  | Defrost Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.AirOn | V_IM_trc_AirOn |  | Air On Temperature Value | DegC | NA | NA | Real
| V_IM_trc_AirOn_Status |  | Air On Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.SuctT | V_IM_trc_Suction |  | Suction Temperature Value | DegC | NA | NA | Real
| V_IM_trc_Suction_Status |  | Suction Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.AmbientT | V_IM_trc_Ambient |  | Ambient Temperature Value | DegC | NA | NA | Real
| V_IM_trc_Ambient_Status |  | Ambient Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.AmbientH | V_IM_pc_RhAmbient |  | Relative Humidity Temperature Value | % | NA | NA | Real
| V_IM_pc_RhAmbient_Status |  | Relative Humidity Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.GlassT | V_IM_trc_Glass |  | Glass Temperature Value | DegC | NA | NA | Real
| V_IM_trc_Glass_Status |  | Glass Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.EvapP | V_IM_bar_Evap |  | Evaporator Temperature Value | Bar | NA | NA | Real
| V_IM_bar_Evap_Status |  | Evaporator Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.DewPoint | V_IM_trc_DewPoint |  | Dewpoint Temperature Value | DegC | NA | NA | Real
| V_IM_trc_DewPoint_Status |  | Dewpoint Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.Defrost2 | V_IM_trc_Defrost2 |  | Defrost 2 Temperature Value | DegC | NA | NA | Real
| V_IM_trc_Defrost2_Status |  | Defrost 2 Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.Auxiliary | V_IM_trc_Aux |  | Aux Sensor Temperature Value | DegC | NA | NA | Real
| V_IM_trc_Aux_Status |  | Aux Sensor Temperature Status | None | NA | NA | SINT
AnalogInputs.Fct.Auxiliary2 | V_IM_trc_Aux2 |  | Aux2 Sensor Temperature Value | DegC | NA | NA | Real
| V_IM_trc_Aux2_Status |  | Aux2 SensorTemperature Status | None | NA | NA | SINT
DigitalInputs.Fct.Alarm | V_IM_Alarm_Flag |  | Digital Input Alarm Flag | None | NA | NA | Bool
DigitalInputs.Fct.Auxiliary | V_IM_Auxiliary_Flag |  | Auxiliary Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.CallDfr | V_IM_CallDfr_Flag |  | Initiate Defrost Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.Clean | V_IM_Clean_Flag |  | Clean Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.Config | V_IM_Config_Flag |  | Config Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.ContCycle | V_IM_ContCycle_Flag |  | Continious Cycle Flag | None | NA | NA | Bool
DigitalInputs.Fct.Curtain | V_IM_Curtain_Flag |  | Curtain Flag | None | NA | NA | Bool
DigitalInputs.Fct.DefrostMirror | V_IM_DefrostMirror_Flag |  | Defrost Mirror Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.DelayedAl | V_IM_DelayedAl_Flag |  | Delayed Analog Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.DoorOff | V_IM_DoorOff_Flag |  | Door Off Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.DoorOn | V_IM_DoorOn_Flag |  | Door On Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.EnDfr | V_IM_EnDfr_Flag |  | Enable Defrost Flag | None | NA | NA | Bool
DigitalInputs.Fct.GenFctAlrm | V_IM_GenFctAlrm_Flag |  | Generic Function Alarm Flag | None | NA | NA | Bool
DigitalInputs.Fct.RemoteOff | V_IM_RemoteOff_Flag |  | Remote Off Flag Input | None | NA | NA | Bool
DigitalInputs.Fct.Standby | V_IM_Standby_Flag |  | Standby Input Flag | None | NA | NA | Bool
DigitalInputs.Fct.Timed | V_IM_Timed_Flag |  | Timed Digital Input Flag | None | NA | NA | Bool

## Case_System_Manager
Carel Variable Name | DFR Variable Name | Carel Variable Description | DFR Variable Description | Unit | Carel Default | DFR Default | Data Type | Min | Max | Decimal | Comments

## Temperature_Control_Manager
Carel Variable Name | DFR Variable Name | Carel Variable Description | DFR Variable Description | Unit | Carel Default | DFR Default | Data Type | Min | Max | Decimal | Comments
Kp_Temp

## Heating_System_Manager
Carel Variable Name | DFR Variable Name | Carel Variable Description | DFR Variable Description | Unit | Carel Default | DFR Default | Data Type | Min | Max | Decimal | Comments

## Lights_System_Manager
Carel Variable Name | DFR Variable Name | Carel Variable Description | DFR Variable Description | Unit | Carel Default | DFR Default | Data Type | Min | Max | Decimal | Comments
| V_LSM_LightONCount |  | Counter for lights ON in light blinker function | None |  | FALSE | BOOL | None | None | None | This is for a light blinker function in the case that allows the case to blink 5 times when at setpoint

## Air_Flow_Manager
Carel Variable Name | DFR Variable Name | Carel Variable Description | DFR Variable Description | Unit | Carel Default | DFR Default | Data Type | Min | Max | Decimal | Comments

## Door_System_Manager
Carel Variable Name | DFR Variable Name | Carel Variable Description | DFR Variable Description | Unit | Carel Default | DFR Default | Data Type | Min | Max | Decimal | Comments